ANALYSIS OF DNA ADDUCTS OF POLYCYCLIC AROMATIC HYDROCARBONS BY 32P-POSTLABELLING

SUMMARY

1.	32P-postlabelling method
2.	B(a)P-DNA standards
3.	Cell culture A549 and CT DNA incubation
4.	DNA isolation
5.	DNA hydrolysis
6.	Nuclease P1 adduct enrichment
7.	32P-ATP labelling
8.	DNA adducts separation by thin layer chromatography (TLC)
9.	Visualisation and quantification of DNA adduct maps
10.	HPLC nucleotides concentration analysis
11.	DNA adduct quantification

32P-postlabelling method

The 32P-postlabelling protocol is shown in Fig.1. Carcinogen-modified DNA is digested enzymatically to deoxyribonucleoside 3´-monophosphates with endonuclease (micrococcal nuclease) and exonuclease (spleen phosphodiesterase). In order to increase the sensitivity of the method the enhancement procedure is used to enrich adducts. This procedure uses an enzymatic postincubation of DNA digests with nuclease P1 (from Penicillium citrinum). Nuclease P1 dephosphorylates deoxyribonucleoside 3´-monophosphates of normal nucleotides only to deoxyribonucleosides but not of adducted nucleotides. Deoxyribonucleosides do not serve as substrates of T4-polynucleotide kinase for the transfer of [32P]phosphate from [ɤ-32P]ATP.
Then DNA hydrolysates are converted to 5´-32P-labelled 3´,5´-bisphosphates by incubation with [ɤ-32P]ATP in the presence of carrier ATP and T4-polynucleotide kinase at pH 9.5. This alkaline pH is used in order to minimize the 3´-phosphatase activity of the polynucleotide kinase. 32P-labelled adducts are separated and resolved from the excess of labelled non-modified nucleotides in two dimensions by multidirectional anion-exchange thin layer chromatography (TLC) on polyethyleneimine (PEI) cellulose plates (Fig. 2). During the first elutions (D1 and D2 directions) with aqueous electrolyte labelled unmodified nucleotides and [32P]phosphate are removed from the origin for subsequent resolution using different solvent systems (D3, D4 directions). Location of the adducts is carried out by screen enhanced autoradiography and visualized as dark distinct spots on X-ray films. These areas are then excised for quantitation by liquid scintillation. Adduct levels are calculated as relative adduct labelling (RAL) values, which represent the ratio of count rates of adducted nucleotides over count rates of total (adducted and normal) nucleotides. Utilizing the standard protocol, DNA adducts present at levels of 1 adduct in 107 normal nucleotides (0.3 fmol adduct/ µg DNA) can be detected.

Fig. 1

B(a)P DNA standards

B(a)P-DNA standard - 4 adducts/108 nucleotides- was prepared by DNA isolation from rat liver after oral administration of B[a]P 100 mg/kg body weight of rats. Aliquots (20 µl) of the standard are stored at -80oC. Standard as a positive DNA control is analyzed in triplicate in each postlabelling experiment to check variability between experiments.

Cell culture A549 and CT DNA incubation
Calf thymus DNA (CT DNA 1mg/ml) is incubated with various EOM samples (EOM = extractable organic mass) for 24 h at 37 C with and without metabolic activation using the S9 fraction (1 mg protein/ml). B[a]P and DMSO treated calf thymus DNA samples are used as positive and negative controls, respectively.
A549 cells are grown at 37 °C in 72 cm2 flasks with 15-30 ml Dulbecco´s modified Eagle´s medium (with 10% FBS) to 70-80% confluency. Then we treat cells in aplication medium (with 1% FBS) with EOM samples for 24h at 37 °C. After that we harvest cells.

Chemicals and solutions
calf thymus DNA incubation
Microsomal S9 fraction from rat liver homogenate – (Institute organických syntéz a.s., Rybitví)
Calf thymus DNA (Sigma D 1501)
Glukoso-6-phosphate (Sigma G 7879)
NADP (Sigma N 0505)
DMSO - Dimethyl sulfoxide (Sigma D2650)
Pufr A: 1.65 M KCl + 0.4 M MgCl2
Pufr B: Phosphate buffer 0.2 M, pH = 7.4: 60 ml 0.2 M NaH2PO4 + 440 ml 0.2M Na2HPO4

A549 cells incubation
Dulbecco´s modified Eagle´s medium (DMEM) with 1.0 g/L glucose, with pyruvate, without Lglutamine (LONZA BE12-707F/12)
Fetal bovine serum (FBS), EU standard (LONZA DE14-801F/12)
L-glutamine (200 mM) (LONZA BE17-605E)
Gentamicin sulfate 10 mg/ml (LONZA 17-519L)
Trypsin/EDTA (1x) contains 0.5 g/L trypsin 1:250 and 0.2 g/L Versene® (EDTA) (LONZA BE17-161E)
DMSO (Sigma D2650)

Cell harvesting
1. After exposure wash cells with cold PBS and scrape into the 15 ml labeled with the name of the project Medetox and sample number.
2. Wash the cell culture flasks with 4 ml PBS and add into the 15 ml tubes. Centrifuge at 3000 rpm for 5 min.
3. Discard the supernatant, homogenize the cell pellet, add 13 ml of PBS and centrifuge at 3000 rpm for 5 min. Repeat this step twice.
4. Finally centrifuge at 3000 rpm for 5 minutes, discard the supernatant, homogenize the cell pellet and continue with DNA isolation or store the samples in a freezer at – 80 °C.

DNA isolation

The cell pellets are homogenized in a solution of 10 mM Tris-HCl, 100 mM EDTA and 0.5% SDS, pH 8.0. DNA is isolated using RNAses A and T1 and proteinase K treatment followed by phenol/chloroform/isoamylalcohol. DNA concentration is estimated spectrophotometrically by measuring the UV absorbance at 260 nm. DNA samples are stored at – 80 °C until analysis.

Chemicals and solutions
Extraction buffer: 1 % SDS, 10 mM EDTA, 20mM Tris
Solution – 1 litre (store at room temperature):
2,42 g Tris (M.W 121.1)
3,723 g EDTA (M.W.372.3)
10 g Sodiumdodecylsulphate-SDS (M.W.268.4)
1 M Tris, pH=8 (store at room temperature)
12,1 g/100 ml H2O, pH adjust with HCl
5M NaCl (store at room temperature)
29,23 g/ 100 ml H2O
50 mM Tris, pH 7.4, for CIP a CI solutions
1.21 g / 200 ml, pH adjust with HCl
CIP - chloroform : isoamylalkohol : phenol (24 : 1 : 25)
250 g phenol, redestilled (Sigma, 328111)
240 ml chloroform (Merck, 1.02445)
10 ml isoamylalcohol (Sigma I 0640)
Melt phenol in a water bath at 50oC. Then mix all chemicals and shake thoroughly with 80 ml 50 mM Tris pH=7.4. Store the solution in the fridge overnight – Tris will make the layer on the CIP solution.
CI - chloroform : isoamylalkohol (24 : 1)
240 ml chloroform (Merck 1.02445)
 10 ml isoamylalcohol
 Mix and shake thoroughly with 80 ml 50 mM Tris pH=7.4

RNA mix = Ribonuclease A 10mg/ml (Sigma, R-5125), Ribonuclease T1 5000 U/ml (Sigma R-1003)
Prepare a solution of Ribonuclease A 10mg/ml in 50 mM Tris pH=7.4. Heat this solution at 80 °C for 10 minut and then let it cool down. Gently mix 1 ml of this solution with Ribonuclease T1 (5000 U/ampulla). Make aliquots (200 µl) keep in a freezer at -20 °C.

Proteinase K (20 mg/ml H2O) (Sigma, P-6556)
Prepare fresh before use.
Material
15 ml tubes with a gel (PLG Light, Eppendorf 2302840)

Equipment
pH-metr, Beckman
Centrifuge Savant Speed fuge HSC 10K, centrifuge Eppendorf 5810 R
Vortex MS2 Minishaker IKA, vortex Bio vortex V1 BIOSAN
Thermoblock Thermodual Liebisch, thermoblock DRI-BLOCK DB.3D
Water bath GFL 1086
Spectrophotometer Nanodrop
Evaporater Jouan RC10.22., RCT 90

DNA isolation
1.	Homogenize the cell pellets in 1,5 ml of an extraction buffer (1% SDS,10 mM EDTA, 20 mM Tris; pH = 8.0) in 15 ml plastic tubes with covers.
2.	Add 30 µl of RNA-mix (10 mg/ml RNAza A, 5000 U/ml RNAza T), mix gently and incubate in water bath 1.5 hours at 37 °C.
3.	Add 30 µl of proteinase K (20 mg/ml), mix and incubate in water bath 2 hours at 37 °C.
4.	Use a pipette to transfer the mixture to a 15 ml tubes with a gel and add 75 µl of 1 M Tris, pH=8, 150 µl of 5M NaCl and 1.5 ml of CIP. Put the cap on the tube and manually shake – at least one hundred times. Centrifuge at 3000 rpm for 5 minutes.
5.	Recover the upper aqueous phase into new 15 ml tubes with a gel, add 1.5 ml of CI. Put the cap on the tube and manually shake – at least one hundred times. Centrifuge at 3000 rpm. for 5 minutes.
6.	Recover the upper aqueous phase into 5 ml tubes and add 150 µl of 5M NaCl. Precipitate the nucleic acid by 1.5 ml of ice-cold absolute ethanol (Merck, 1.11727). Centrifuge at 3000 rpm for 5 minutes. Discard the ethanol and dry the DNA in the evaporater.
7.	Resuspend the DNA pellet in proper dH2O (optimal is the final concentration 0.8-1.5 mg/ml). Mix thoroughly and keep dissolving at room temperature overnight.
8.	Measure the DNA concentration on the spectrophotometer (Nanodrop). Optimal concentration is 1 – 2ug/ul. Absorbance A260/A280 ratio is used for controlling the purity of the DNA - the number higher than 1.8 means the RNA contamination, lower the protein contamination.
9.	Pipette the samples to 1.5 ml tubes and sign them with the name of the study MEDETOX, sample number, DNA concentration and the date of the DNA isolation. Keep in the freezer at - 80 °C.

5.	DNA hydrolysis
Carcinogen-modified DNA is digested enzymatically to deoxyribonucleoside 3´-monophosphates with endonuclease (micrococcal nuclease) and exonuclease (spleen phosphodiesterase).

Chemicals
Micrococcal nuclease (MN, Sigma N 3755; 1 bal MN = 200 U)
Spleen phosphodiesterase (SPD, MP Biomedicals 0210097701)
Other chemicals Sigma (analytical grade)
Slide –A-Lyzer 10K Dialysis Cassettes 0.5 - 3ml sample volume (Pierce Biotechnology, Thermo scientific No. 66380)
1,5 ml tubes (Eppendorf, Axygen)

Solutions
MN/SPD mix:	50 U MN/ml a 1mg SPD/ml (2 U/ml)
Use a Slide-A-Lyzer 10K Dialysis Cassettes to remove low molecular weight contaminant from SPD. For more details see the Detailed Procedure Instruction List for Adding and Removing Samples. Dialyse SPD in dH2O 2 hours in a fridge at 4°C, then in the fresh dH2O another 2 hours . Adjust the volume to 4 ml with dH2O, pipette to the vial with MN (1 vial MN=200U) and mix gently.
Keep aliquots in a freezer at – 20 °C (max. 4 months).

Hydrolysis buffer
100 mM Na Succinate pH = 6.0
50 mM CaCl2
Solution - 100 ml: 2.7 g Na Succinate (M.W.= 270.1), 0.368 g CaCl2 (M.W.=147), pH adjust with HCl.
100 µl aliquots store at – 20 °C.

Hydrolysis mix
MN/SPD mix : Hydrolysis buffer = 4 : 1
Make always fresh!

Equipment

Centrifuge Savant Speed fuge HSC 10K, centrifuge Spectrafuge 24D Labnet
Vortex MS2 Minishaker IKA, vortex Bio vortex V1 BIOSAN
Thermoblocks Thermodual Liebisch, thermoblock DRI-BLOCK DB.3D

Hydrolysis conditions
DNA amount / sample:	6 µg
Final DNA concentration in the mixture	0.4 µg/µl
MN / sample:	0.3 U
SPD / sample:	12 mU
pH	6.0
Total volume:	15 µl
Incubation time:	4 hours
Temperature:	37 °C

DNA hydrolysis

1.	Pipette the volume containing 6 µg DNA to 1.5 ml microtubes, complete to 7.5 µl with dH2O.
2.	Add 7.5 µl of MN/SPD mix to each sample, mix and briefly centrifuge (5000 rpm, 20 sec).
3.	Incubate the samples in the thermoblock at 37oC for 4 hours.
4.	Centrifuge briefly (5000 rpm, 20 sec). Make aliquots of each sample – pipette 2.5 µl of each sample to new microtubes and store in a freezer at – 20 °C until the HPLC analysis (analysis of individual nucleotides - dC, dG, dT, dA).
5.	An enzymatic postincubation of “DNA digest“ (12.5 µl contain approximately 5 µg DNA) with nuclease P1 is following – immediately or the next day (keep the aliquots (12.5 µl) in a freezer at – 20 °C).

Nuclease P1 adduct enrichment
This procedure uses an enzymatic postincubation of DNA digests with nuclease P1 (from Penicillium citrinum). Nuclease P1 dephosphorylates deoxyribonucleoside 3´-monophosphates of normal nucleotides only to deoxyribonucleosides but not of adducted nucleotides. Deoxyribonucleosides do not serve as substrates of T4-polynucleotide kinase for the transfer of [32P]phosphate from [ɤ-32P]ATP. After this step proceed with 32P-ATP labelling, never freeze the samples after the incubation with nuclease P1.

Chemicals
Nuclease P 1 from Penicillium cintrinum 500 U (Yamasa corporation 8801)
Other chemicals Sigma (analytical grade)

Solutions
0.64 M Na-acetate pH = 5.0
2.178 g Na-acetate (M.W.=136.1) dissolve in 20 ml of HPLC H2O, pH adjust with dilute acetic acid. Complete to volume 25 ml. 150 µl aliquots store at ‑ 20 °C.

3.2 mM ZnCl2
10.9 mg ZnCl2 (M.W.=136.3) dissolve in 25 ml HPLC H2O.
150 µl aliquots store at – 20 °C.

1.36 M Tris pH = 9.5
4.12 g Tris (M.W.=121.1) dissolve in 25 ml HPLC H2O.
150 µl aliquots store at – 20 °C.

10 mM Na acetate pH = 5.0
Dilute 0.64 M Na-acetate pH = 5.0
(100 µl of solution + 6.3 ml HPLC H2O)
200 µl aliquots store at – 20 °C.

Nuclease P1
1 mg dissolve in the original ampulla in 150 µl HPLC H2O and immediately make P1-mix. Residue store at – 20 °C, max. for 4 weeks.

Equipment
Centrifuge Savant Speed fuge HSC 10K, centrifuge Spectrafuge 24D Labnet
Vortex MS2 Minishaker IKA, vortex Bio vortex V1 BIOSAN
Thermoblocks Thermodual Liebisch, thermoblock DRI-BLOCK DB.3D

NUCLEASE P1 conditions
DNA hydrolysate amount:	12.5 µl "DNA digest"
Nuclease P1 / sample :	2.4 U
pH:	5.0
Total volume of sample (nuclease P1 enrichment):	18.5 µl
Incubation time:	30 min
Incubation temperature:	37 °C
Reaction stop:	1 µl 1.36 M Tris
Total volume at the end of the procedure:	16.5 µl

Nuclease P1 enrichment

1.	Prepare P1-mix for all samples:
For 1 sample:	1 µl nuclease P1
1 µl 0.64 M Na acetate, pH=5.0
1 µl 3.2 mM ZnCl2
2.	Add 3 µl of P1-mix to each sample (12.5 µl DNA digest), vortex gently and centrifuge briefly (5000 rpm, 30 sec).
2.	Incubate samples 30 minutes at 37 °C in the thermoblock.
3.	Centrifuge briefly (5000 rpm, 30 sec) and add 1 µl of 1.36 M Tris to each sample.
4.	Store the samples at 4 °C until the 32P-labelling.
7.	32P-ATP labelling
In this step DNA hydrolysates (normal and modified deoxyribonucleoside 3´-monophosphates) are converted to 5´-32P-labelled 3´,5´-bisphosphates by incubation with [γ-32P]ATP in the presence of carrier ATP and T4-polynucleotide kinase at pH 9.5. This alkaline pH is used in order to minimize the 3´-phosphatase activity of the polynucleotide kinase.

Chemicals
32P-ATP 3000 Ci/mmol; 1 mCi/100µl (Perkin Elmer BLU0024)
T4 Polynucleotide kinase (PNK) 30 U/µl (USB, #70031)
Other chemicals Sigma (analytical grade)

Solutions
Labelling buffer - pH=9.0
230 mM Bicine
115 mM Magnesium Chloride
115 mM Dithiothreitol (DTT; D-0632)
5.8 M Spermidine (S-2626)
For 25 ml we weight: 0.9385 g Bicine (M.W.=163.2);
0.274 g Mg Cl2; 0.443 g DTT (M.W.=154.2); 0.2105 g Spermidine (M.W.=145.2). Adjust pH with 1 N NaOH.
150 µl aliquots at – 80 °C

Equipment
Thermoblocks Thermodual Liebisch, thermoblock DRI-BLOCK DB.3D
Protective equipment for radiation

Labelling conditions
DNA amount:	5 µg
T4 PNK / sample:	3.6 U
ɤ-32P-ATP / sample:	24.2 µCi
pH:	9.5
Total volume during the labelling:	24 µl (P1)
Incubation time:	30 min
Incubation temperature:	37 °C

32P-ATP labelling protocol

1.	Prepare ATP-mix : For one package of ATP (activity 1 mCi = 37 MBq) and volume 100 µl:
Labelling buffer	60 µl
T4 P N K	8 µl
HPLC H2O	142 µl
32P-ATP	100 µl	Total volume	310 µl (for 40 samples)
Do not vortex, mix only with a tip (approx. 10 x).
2.	Add 7.5 µl of ATP-mix to each sample and mix gently with a tip. Centrifuge briefly and incubate 30 minutes at 37 °C in thermoblock.
3.	Pipette the samples on the origin of the chromatographic plates (Fig. 2) and put them into the chromatographic tanks with the D1 solution.
8.	DNA adduct separation by thin layer chromatography (TLC)
32P-labelled adducts are separated and resolved from the excess of labelled non-modified nucleotides in two dimensions by multidirectional thin layer chromatography (TLC) on 10x10 cm polyethyleneimine (PEI) cellulose plates. During the first elutions (D1 and D2 directions) with aqueous electrolyte labelled unmodified nucleotides and 32P-phosphate are removed from the origin onto a paper wick while aromatic hydrophobic adducts are retained at the origin for subsequent resolution using different solvent systems - D3 (pH=3.5) and D4 (pH=8.0) directions (Fig. 2).

Chemicals and materials
Chemicals from Sigma (analytical grade)
POLYGRAM CEL 300 PEI – polyethyleneimine cellulose plates, 20x20 cm, 0.1 mm (Macherey-Nagel, Germany)
Filter paper Whatman č. 3
Fluorescence pen (Autoradiography pen Sigma Z36,351-0)
Roentgen films 35x43 cm a 20.3x25.4 cm	(Kodak BioMax MRfilm)
Developer G153, Fixer G354 (Agfa)
Autoradiographic cassettes (HypercassetteTM 35x 43 cm a 20.3x25.4 cm, Amersham)

Solutions
D1:	1 M Sodium phosphate, pH = 6.8
For 2 litres:
276 g NaH2PO4.H2O (M.W.=138) or
240 g NaH2PO4 (M.W.=119.98) solute in 1.5 l HPLC H2O
Adjust pH with conc. NaOH to 6.8 and complete the volume to 2 l.

D2:	2.5 M Ammonium formate, pH = 3.5
For 500 ml:
50 ml formic acid (99%) mix with 300 ml HPLC H2O and
approx. 20 - 30 ml 25% NH4OH (27%) to pH = 3.5
Complete the volume to 500 ml.

D3:	3.5 M LiF, 8.5 M Urea, pH = 3.5
For 2 l:
1020 g of Urea (M.W.=60.16) dissolve in 1.5 l HPLC H2O and add
277.4 ml of formic acid (99%)
Adjust pH with LiOH to pH=3.5
 Complete the volume to 2 l.

D4-A:	0.5 M Tris, pH = 8.0
For 1 l:
60.55 g of Tris (M.W.=121.1) dissolve in 900 ml HPLC water
Adjust pH with 1 N HCl a complete the volume to 1 l.

D4:	0.8 M LiCl, 0.5 M Tris, 8.5 M Urea, pH = 8.0
For 2 l:
1020 g urea
121.1 g Tris (M.W.=121.1)
67.84 g LiCl (m.W.=42.4)
Dissolve in 1,5 l HPLC H2O
Adjust pH pwith conc. HCl to pH=8.0
Complete the volume to 2 l.

D5 = D1:	1 M Sodium phosphate, pH = 6.8

Equipment

Chromatographic tanks
Hairdryers
Daylight light box Kaiser prolite basic (KFB 2176)	HypercassetteTM 35x 43 cm a 20.3x25.4 cm , Amersham, USA
CURIX 60 machine, Agfa – for developing the films
Protective equipment for radiation

Chromatography conditions

Chromatography D1 - D5 (scheme in the figure 2).

D1	overnight, to the end of the filter paper (10x20 cm, Whatman č.3) stapled to the plate, min. 15 hours
D2	developing to origin (OR) (approximately 1 minute)
D3	3.5 hours
D4	3 hours
D5	overnight, to the end of the filter paper (10x7 cm, Whatman no.3) stapled to the plate, min. 15 hours

Chromatography protocol
1.	Draw the borders with a pencil according the schema (Fig.2). Cut away the margins and staple the filter papers (10x20 cm).
2.	Pipette the samples on the origin of the chromatographic plates (Fig. 2) and put them into the chromatographic tanks with the D1 solution (tank for 16 samples – 180 ml of D1) – avoid splashing. Seal the tank with its lid. Let develop overnight (min. 15 hours).
3.	In the morning – cut away the filter papers and wash the plates in the tanks with dH2O. Let the water slowly run through the tanks for 20 minutes. Drain the plates under the hairdryers for 15 – 20 minutes.
4.	Dried plates dip to D2 solution and let develop to OR (approx. 1 minute). Then put the plates into the chromatographic tanks with D3 solution (tank for 16 sample – 180 ml od D3) and let develop 3,5 hours.
5.	Cut away the top 2 cm part of the plate and cut the plate in the middle. Wash and drain the plates as described in step 3.
6.	Dried plates briefly dip to D4-A solution and immediately put into the tanks with D4 solution (tank for 16 samples - 180 ml of D4) and let develop 3 hours.
7.	Wash and drain the plates as described before (20 min). Staple the filter paper (10x7 cm) to the end part of D4 chromatography, put the plates into the chromatographic tanks with D5 and let develop overnight.
8.	In the morning – cut away the filter papers, wash the plates in the tanks with dH2O and drain them. Mark each plate in the corners with the fluorescent pen. Place the plates into clean autoradiography cassettes, then put the X-ray KODAK films on it in the dark room and let expose in a freezer at – 80 °C for 24 – 72 hours.
9.	Develop the films in the CURIX 60 machine, Agfa.

ORR
ORRR

D4
D5
D3
D2
D1
TLC plate
Filter paper Whatman No.3
Fig. 2

9.	Visualisation and quantification of DNA adduct maps

The DNA adduct levels are evaluated from the distinct adduct spots and from the diagonal radioactives zones (DRZ) on thin layer chromatograms. The radioactivity is measured by liquid scintillation counting.

Chemicals and material
Scintilation cocktail LSC SigmaFluoTM (Sigma L8286)
Scintilation vials (Greiner)

Equipment
LS counter, Wallac (Pharmacia)
Protective equipment for radiation
Daylight light box Kaiser prolite basic (KFB 2176)
Dispenser of the scintilation cocktail

Chromatography evaluation

1.	Choose the proper template of map of spots and diagonal radioactive zones (DRZ) for the cutting. Draw the template on the films.
2.	Draw the template on the plates using light box and with the aid of fluorescent marks. Cut with the scissors all spots and DRZ from each plate (blanks included) and put into marked scintilation counter vials. Add scintilation cocktail to vials (5ml per vial). Also prepare a vial with only scintillation cocktail as a control. Measure on LS counter – always edit the reference date for γ-32P-ATP. Dispose counted vials and scint. cocktail as hazardous waste.
10.	HPLC nucleotides concentration analysis
To determine the exact amount of DNA in each sample, aliquots of the DNA enzymatic digest (1 g of DNA hydrolysate) are analyzed by HPLC for nucleotide content, which simultaneously allow for controlling the purity of the DNA.

Chemicals

Nucleotides standards:
dG- 2'-deoxyguanosine 3'-monophosphate,sodium salt, Sigma D 4147 (2 mg)
dA- 2'-deoxyadenosine 3'-monophosphate,sodium salt, Sigma D 3139 (1 mg)
dC- 2'-deoxycytidine 3'-monophosphate,sodium salt, Sigma D 3389 (1 mg)
dT- thymidine 3'-monophosphate, sodium salt, Sigma T 3512 (5 mg)
Acetonitrile, HPLC grade
Membrane filters for mobile phase, Waters
Chromatographic column SGX C18 5 ìm,4 x 250 mm, TESSEK, č.141 300013 001
Pre-column SGX C18 5 ìm, 4 x 40 mm, TESSEK, ČR

Solutions

25 mM NaH2PO4 , pH=4.0 with 2% acetonitrile- mobile phase
For 2 l - solute in 1.5 l HPLC water:
6.0 g anhydric NaH2PO4 (M.W.= 120) or
6.9 g NaH2PO4.H2O (M.W.= 138)
Adjust pH with dilute H3PO4. Add 40 ml of acetonitrile and complement to 2 l. Before use filter solution on the filtration equipment Waters.
Store at 4 °C up to 1 month.

Standard solutions for the calibration (concentration 100 ng dC, dG, dT a dA/µ)
Dissolve standards in proper volume of HPLC water (final concentration 1mg/µl). Dilute 10x to concentration 100 ng/µl. Store aliquots (100 µl) in a freezer at -80oC.

Equipment

Centrifuge Savant Speed fuge HSC 10K, centrifuge Spectrafuge 24D Labnet
Vortex MS2 Minishaker IKA, vortex Bio vortex V1 BIOSAN
Filtration equipment for mobile phase, Waters
HPLC system Waters:
HPLC pumpa typ 600
Diode-array detektor typ 966
Autosampler typ 717
Personal computer Digital
Chromatography software Millenium
Laser printer HP 5P

HPLC analysis conditions

Isocratic mode
Mobile phase:	25 mM NaH2PO4 with 2% acetonitrile, pH=4.0
Elution flow rate:	1 ml/min
Analysis time:	14 min
Injection volume of a sample:	5 µl
Column:	Analytic, 4 x 250 mm, 5 ìm, ODS 18
Detection:	Detection in range 230 -320 nm; processing at 260 nm
Calibration curves:	Standards dC, dG, dT a dA-5'-monophosphates. Calibration for ech nucleotide in range 10-30 ng.
Retention time:	dC - 3.7 min; dG - 5.5 min; dT - 6.3 min; dA - 10.9 min

HPLC analysis protocol
1.	Mix the aliquots of the nucleotides in the ratio 1:1:1:1, the final concentration of each nucleotide will be 25 ng/µl. Dilute 10x. Injection volume is 4 µl = 10 ng of each nucleotide.
2.	Thaw the aliquots of DNA of the samples stored after hydrolysis (2.5 µl) and add 37.5µl of HPLC water. Vortex and briefly centrifuge. Pipette the samples to HPLC vials and analyze for nucleotide content by reverse-phase HPLC with UV detection, which simultaneously allow for controlling the purity of the DNA as well.
11.	DNA adducts quantification
Adduct levels are calculated as relative adduct labelling (RAL) values, which represent the ratio of count rates of adducted nucleotides over count rates of total (adducted and normal) nucleotides.
The final number of DNA adducts Z is:
size 12{Z` \[ ital "adduct"/"10" rSup { size 8{8} } ital "nucleotid" \] =0 "." "00501" cdot { {A rSub { size 8{ ital "CPM"} } } over {X rSub { size 8{μ ital "gDNA"} } } } } {}

To determine the exact amount of DNA in each sample, aliquots of the DNA enzymatic digest (1 µg of DNA hydrolysate) is analyzed for nucleotide content (X) by reverse-phase HPLC with UV detection, which simultaneously allow for controlling the purity of the DNA as well.
The correction of CPM of analyzed samples is performed according to CPM of blank samples.
A B(a)P-DNA adduct standard is run in triplicate in each postlabeling experiment to control for interassay variability and to normalize the calculated DNA adduct levels.